## Sheet1
| heat generator | topic | value
0 | CHP Back Pressure 1 | Installed Capacities [MW] | 384.0039
1 | electricity | Installed Capacities [MW]
2 | heat pump | Installed Capacities [MW] | 684.8511
3 | wood chips | Installed Capacities [MW]
4 | CHP Back Pressure 1 | Electrical Consumption of Heatpumps and Power to Heat devices [MWh]
5 | electricity | Electrical Consumption of Heatpumps and Power to Heat devices [MWh]
6 | heat pump | Electrical Consumption of Heatpumps and Power to Heat devices [MWh] | 262112.4381
7 | wood chips | Electrical Consumption of Heatpumps and Power to Heat devices [MWh]
8 | CHP Back Pressure 1 | Thermal Generation Mix [MWh] | 633438.392
9 | electricity | Thermal Generation Mix [MWh]
10 | heat pump | Thermal Generation Mix [MWh] | 1129704.608
11 | wood chips | Thermal Generation Mix [MWh]
12 | CHP Back Pressure 1 | Final Energy Mix [MWh] | 1092135.1586
13 | electricity | Final Energy Mix [MWh]
14 | heat pump | Final Energy Mix [MWh] | 262112.4381
15 | wood chips | Final Energy Mix [MWh]
16 | CHP Back Pressure 1 | max thermal efficiency [-] | 0.58
17 | electricity | max thermal efficiency [-]
18 | heat pump | max thermal efficiency [-] | 4.31
19 | wood chips | max thermal efficiency [-]
20 | CHP Back Pressure 1 | Ramping Costs [EUR] | 0
21 | electricity | Ramping Costs [EUR]
22 | heat pump | Ramping Costs [EUR] | 0
23 | wood chips | Ramping Costs [EUR]
24 | CHP Back Pressure 1 | model_Coldstarts [-] | 1
25 | electricity | model_Coldstarts [-]
26 | heat pump | model_Coldstarts [-] | 1
27 | wood chips | model_Coldstarts [-]
28 | CHP Back Pressure 1 | Coldstart Costs [EUR] | 1000
29 | electricity | Coldstart Costs [EUR]
30 | heat pump | Coldstart Costs [EUR] | 1000
31 | wood chips | Coldstart Costs [EUR]
32 | CHP Back Pressure 1 | Revenue From Electricity [EUR] | 7555440.9623
33 | electricity | Revenue From Electricity [EUR]
34 | heat pump | Revenue From Electricity [EUR] | 0
35 | wood chips | Revenue From Electricity [EUR]
36 | CHP Back Pressure 1 | Operational Cost [EUR] | 28757523.4186
37 | electricity | Operational Cost [EUR]
38 | heat pump | Operational Cost [EUR] | 10859220.9418
39 | wood chips | Operational Cost [EUR]
40 | CHP Back Pressure 1 | Fuel Costs [EUR] | 24026973.4886
41 | electricity | Fuel Costs [EUR]
42 | heat pump | Fuel Costs [EUR] | 9066529.1547
43 | wood chips | Fuel Costs [EUR]
44 | CHP Back Pressure 1 | CO2 Costs [EUR] | 27303378.9643
45 | electricity | CO2 Costs [EUR]
46 | heat pump | CO2 Costs [EUR] | 5242248.7611
47 | wood chips | CO2 Costs [EUR]
48 | CHP Back Pressure 1 | emission factor [tCO2/MWh] | 1
49 | electricity | emission factor [tCO2/MWh]
50 | heat pump | emission factor [tCO2/MWh] | 0.8
51 | wood chips | emission factor [tCO2/MWh]
52 | CHP Back Pressure 1 | emission factor: [tCO2/MWh] | 1
53 | electricity | emission factor: [tCO2/MWh]
54 | heat pump | emission factor: [tCO2/MWh] | 0.8
55 | wood chips | emission factor: [tCO2/MWh]
56 | CHP Back Pressure 1 | Anual Investment Cost [EUR] | 184979077.3165
57 | electricity | Anual Investment Cost [EUR]
58 | heat pump | Anual Investment Cost [EUR] | 14577560.8947
59 | wood chips | Anual Investment Cost [EUR]
60 | CHP Back Pressure 1 | Anual Investment Cost (of existing power plants) [EUR] | 0
61 | electricity | Anual Investment Cost (of existing power plants) [EUR]
62 | heat pump | Anual Investment Cost (of existing power plants) [EUR] | 0
63 | wood chips | Anual Investment Cost (of existing power plants) [EUR]
64 | CHP Back Pressure 1 | Anual Investment Cost (of existing power plants and heat storages) [EUR] | 0
65 | electricity | Anual Investment Cost (of existing power plants and heat storages) [EUR]
66 | heat pump | Anual Investment Cost (of existing power plants and heat storages) [EUR] | 0
67 | wood chips | Anual Investment Cost (of existing power plants and heat storages) [EUR]
68 | CHP Back Pressure 1 | Specific Capital Costs of installed Capacities [EUR/MW] | 481711.438
69 | electricity | Specific Capital Costs of installed Capacities [EUR/MW]
70 | heat pump | Specific Capital Costs of installed Capacities [EUR/MW] | 21285.7372
71 | wood chips | Specific Capital Costs of installed Capacities [EUR/MW]
72 | CHP Back Pressure 1 | Turn Over Rate [-] | 0
73 | electricity | Turn Over Rate [-]
74 | heat pump | Turn Over Rate [-] | 0
75 | wood chips | Turn Over Rate [-]
76 | CHP Back Pressure 1 | Turn Over Rate: [-] | 0
77 | electricity | Turn Over Rate: [-]
78 | heat pump | Turn Over Rate: [-] | 0
79 | wood chips | Turn Over Rate: [-]
80 | CHP Back Pressure 1 | Installed Capacities: [MW] | 384.0039
81 | electricity | Installed Capacities: [MW]
82 | heat pump | Installed Capacities: [MW] | 684.8511
83 | wood chips | Installed Capacities: [MW]
84 | CHP Back Pressure 1 | Thermal Generation Mix: [MWh] | 633438.392
85 | electricity | Thermal Generation Mix: [MWh]
86 | heat pump | Thermal Generation Mix: [MWh] | 1129704.608
87 | wood chips | Thermal Generation Mix: [MWh]
88 | CHP Back Pressure 1 | Anual Investment Cost: [EUR] | 184979077.3165
89 | electricity | Anual Investment Cost: [EUR]
90 | heat pump | Anual Investment Cost: [EUR] | 14577560.8947
91 | wood chips | Anual Investment Cost: [EUR]
92 | CHP Back Pressure 1 | Revenue From Electricity: [EUR] | 7555440.9623
93 | electricity | Revenue From Electricity: [EUR]
94 | heat pump | Revenue From Electricity: [EUR] | 0
95 | wood chips | Revenue From Electricity: [EUR]
96 | CHP Back Pressure 1 | Operational Cost: [EUR] | 28757523.4186
97 | electricity | Operational Cost: [EUR]
98 | heat pump | Operational Cost: [EUR] | 10859220.9418
99 | wood chips | Operational Cost: [EUR]
100 | CHP Back Pressure 1 | Specific Capital Costs of Installed Capacities: [EUR/MW] | 481711.438
101 | electricity | Specific Capital Costs of Installed Capacities: [EUR/MW]
102 | heat pump | Specific Capital Costs of Installed Capacities: [EUR/MW] | 21285.7372
103 | wood chips | Specific Capital Costs of Installed Capacities: [EUR/MW]
104 | CHP Back Pressure 1 | Fuel Costs: [EUR] | 24026973.4886
105 | electricity | Fuel Costs: [EUR]
106 | heat pump | Fuel Costs: [EUR] | 9066529.1547
107 | wood chips | Fuel Costs: [EUR]
108 | CHP Back Pressure 1 | CO2 Costs: [EUR] | 27303378.9643
109 | electricity | CO2 Costs: [EUR]
110 | heat pump | CO2 Costs: [EUR] | 5242248.7611
111 | wood chips | CO2 Costs: [EUR]
112 | CHP Back Pressure 1 | Total CO2 Emission [kg CO2] | 1092135158.5728
113 | electricity | Total CO2 Emission [kg CO2]
114 | heat pump | Total CO2 Emission [kg CO2] | 209689950.446
115 | wood chips | Total CO2 Emission [kg CO2]
116 | CHP Back Pressure 1 | CO2 Emission Heat [kg CO2] | 812100502.5285
117 | electricity | CO2 Emission Heat [kg CO2]
118 | heat pump | CO2 Emission Heat [kg CO2] | 209689950.446
119 | wood chips | CO2 Emission Heat [kg CO2]
120 | CHP Back Pressure 1 | CO2 Emission Electricity [kg CO2] | 280034656.0443
121 | electricity | CO2 Emission Electricity [kg CO2]
122 | heat pump | CO2 Emission Electricity [kg CO2] | 0
123 | wood chips | CO2 Emission Electricity [kg CO2]
124 | CHP Back Pressure 1 | Total CO2 Emission: [kg CO2] | 1092135158.5728
125 | electricity | Total CO2 Emission: [kg CO2]
126 | heat pump | Total CO2 Emission: [kg CO2] | 209689950.446
127 | wood chips | Total CO2 Emission: [kg CO2]
128 | CHP Back Pressure 1 | Operation Hours [h] | 8760
129 | electricity | Operation Hours [h]
130 | heat pump | Operation Hours [h] | 8760
131 | wood chips | Operation Hours [h]
132 | CHP Back Pressure 1 | Full Load Hours [h] | 1649
133 | electricity | Full Load Hours [h]
134 | heat pump | Full Load Hours [h] | 1649
135 | wood chips | Full Load Hours [h]
136 | CHP Back Pressure 1 | Seasonal Performance Factor [-] | 0
137 | electricity | Seasonal Performance Factor [-]
138 | heat pump | Seasonal Performance Factor [-] | 4.31
139 | wood chips | Seasonal Performance Factor [-]
140 | CHP Back Pressure 1 | Coldstart Count [-] | 1
141 | electricity | Coldstart Count [-]
142 | heat pump | Coldstart Count [-] | 1
143 | wood chips | Coldstart Count [-]
144 | CHP Back Pressure 1 | Ramping Costs: [EUR] | 0
145 | electricity | Ramping Costs: [EUR]
146 | heat pump | Ramping Costs: [EUR] | 0
147 | wood chips | Ramping Costs: [EUR]
148 | CHP Back Pressure 1 | Coldstart Costs: [EUR] | 1000
149 | electricity | Coldstart Costs: [EUR]
150 | heat pump | Coldstart Costs: [EUR] | 1000
151 | wood chips | Coldstart Costs: [EUR]
152 | CHP Back Pressure 1 | Full Load Hours: [h] | 1649
153 | electricity | Full Load Hours: [h]
154 | heat pump | Full Load Hours: [h] | 1649
155 | wood chips | Full Load Hours: [h]
156 | CHP Back Pressure 1 | Total Cost [EUR] | 265067953.188
157 | electricity | Total Cost [EUR]
158 | heat pump | Total Cost [EUR] | 39746559.7524
159 | wood chips | Total Cost [EUR]
160 | CHP Back Pressure 1 | Total Cost: [EUR] | 265067953.188
161 | electricity | Total Cost: [EUR]
162 | heat pump | Total Cost: [EUR] | 39746559.7524
163 | wood chips | Total Cost: [EUR]
164 | CHP Back Pressure 1 | LCOH [EUR/MWh] | 406.5313
165 | electricity | LCOH [EUR/MWh]
166 | heat pump | LCOH [EUR/MWh] | 35.1831
167 | wood chips | LCOH [EUR/MWh]
168 | CHP Back Pressure 1 | LCOH: [EUR/MWh] | 406.5313
169 | electricity | LCOH: [EUR/MWh]
170 | heat pump | LCOH: [EUR/MWh] | 35.1831
171 | wood chips | LCOH: [EUR/MWh]
172 | CHP Back Pressure 1 | Final Energy Mix By Energy Carrier [MWh]
173 | electricity | Final Energy Mix By Energy Carrier [MWh] | 262112.4381
174 | heat pump | Final Energy Mix By Energy Carrier [MWh]
175 | wood chips | Final Energy Mix By Energy Carrier [MWh] | 1092135.1586
176 | CHP Back Pressure 1 | Total CO2 Emission: By Energy Carrier [kg CO2]
177 | electricity | Total CO2 Emission: By Energy Carrier [kg CO2] | 209689950.446
178 | heat pump | Total CO2 Emission: By Energy Carrier [kg CO2]
179 | wood chips | Total CO2 Emission: By Energy Carrier [kg CO2] | 1092135158.5728