## Sheet1
| heat generator | topic | value
0 | CHP Back Pressure | Installed Capacities [MW] | 738.9647
1 | CHP Steam Extraction | Installed Capacities [MW] | 0
2 | CHP Steam Extraction 1 | Installed Capacities [MW] | 0
3 | Heat Pump Air - Ammoniak | Installed Capacities [MW] | 203.5111
4 | electricity | Installed Capacities [MW]
5 | heat boiler natural gas | Installed Capacities [MW] | 197.7368
6 | natural gas | Installed Capacities [MW]
7 | waste | Installed Capacities [MW]
8 | wood chips | Installed Capacities [MW]
9 | CHP Back Pressure | Electrical Consumption of Heatpumps and Power to Heat devices [MWh]
10 | CHP Steam Extraction | Electrical Consumption of Heatpumps and Power to Heat devices [MWh]
11 | CHP Steam Extraction 1 | Electrical Consumption of Heatpumps and Power to Heat devices [MWh]
12 | Heat Pump Air - Ammoniak | Electrical Consumption of Heatpumps and Power to Heat devices [MWh] | 176195.594
13 | electricity | Electrical Consumption of Heatpumps and Power to Heat devices [MWh]
14 | heat boiler natural gas | Electrical Consumption of Heatpumps and Power to Heat devices [MWh]
15 | natural gas | Electrical Consumption of Heatpumps and Power to Heat devices [MWh]
16 | waste | Electrical Consumption of Heatpumps and Power to Heat devices [MWh]
17 | wood chips | Electrical Consumption of Heatpumps and Power to Heat devices [MWh]
18 | CHP Back Pressure | Thermal Generation Mix [MWh] | 1051783.1004
19 | CHP Steam Extraction | Thermal Generation Mix [MWh] | 0
20 | CHP Steam Extraction 1 | Thermal Generation Mix [MWh] | 0
21 | Heat Pump Air - Ammoniak | Thermal Generation Mix [MWh] | 600826.9754
22 | electricity | Thermal Generation Mix [MWh]
23 | heat boiler natural gas | Thermal Generation Mix [MWh] | 110532.9242
24 | natural gas | Thermal Generation Mix [MWh]
25 | waste | Thermal Generation Mix [MWh]
26 | wood chips | Thermal Generation Mix [MWh]
27 | CHP Back Pressure | Final Energy Mix [MWh] | 1813419.1386
28 | CHP Steam Extraction | Final Energy Mix [MWh] | 0
29 | CHP Steam Extraction 1 | Final Energy Mix [MWh] | 0
30 | Heat Pump Air - Ammoniak | Final Energy Mix [MWh] | 176195.594
31 | electricity | Final Energy Mix [MWh]
32 | heat boiler natural gas | Final Energy Mix [MWh] | 113951.4682
33 | natural gas | Final Energy Mix [MWh]
34 | waste | Final Energy Mix [MWh]
35 | wood chips | Final Energy Mix [MWh]
36 | CHP Back Pressure | max thermal efficiency [-] | 0.58
37 | CHP Steam Extraction | max thermal efficiency [-] | 0
38 | CHP Steam Extraction 1 | max thermal efficiency [-] | 0
39 | Heat Pump Air - Ammoniak | max thermal efficiency [-] | 3.41
40 | electricity | max thermal efficiency [-]
41 | heat boiler natural gas | max thermal efficiency [-] | 0.97
42 | natural gas | max thermal efficiency [-]
43 | waste | max thermal efficiency [-]
44 | wood chips | max thermal efficiency [-]
45 | CHP Back Pressure | Ramping Costs [EUR] | 0
46 | CHP Steam Extraction | Ramping Costs [EUR] | 0
47 | CHP Steam Extraction 1 | Ramping Costs [EUR] | 0
48 | Heat Pump Air - Ammoniak | Ramping Costs [EUR] | 0
49 | electricity | Ramping Costs [EUR]
50 | heat boiler natural gas | Ramping Costs [EUR] | 0
51 | natural gas | Ramping Costs [EUR]
52 | waste | Ramping Costs [EUR]
53 | wood chips | Ramping Costs [EUR]
54 | CHP Back Pressure | model_Coldstarts [-] | 1
55 | CHP Steam Extraction | model_Coldstarts [-] | 1
56 | CHP Steam Extraction 1 | model_Coldstarts [-] | 1
57 | Heat Pump Air - Ammoniak | model_Coldstarts [-] | 47
58 | electricity | model_Coldstarts [-]
59 | heat boiler natural gas | model_Coldstarts [-] | 1
60 | natural gas | model_Coldstarts [-]
61 | waste | model_Coldstarts [-]
62 | wood chips | model_Coldstarts [-]
63 | CHP Back Pressure | Coldstart Costs [EUR] | 1000
64 | CHP Steam Extraction | Coldstart Costs [EUR] | 1000
65 | CHP Steam Extraction 1 | Coldstart Costs [EUR] | 1000
66 | Heat Pump Air - Ammoniak | Coldstart Costs [EUR] | 47000
67 | electricity | Coldstart Costs [EUR]
68 | heat boiler natural gas | Coldstart Costs [EUR] | 1000
69 | natural gas | Coldstart Costs [EUR]
70 | waste | Coldstart Costs [EUR]
71 | wood chips | Coldstart Costs [EUR]
72 | CHP Back Pressure | Revenue From Electricity [EUR] | 12414878.5497
73 | CHP Steam Extraction | Revenue From Electricity [EUR] | 0
74 | CHP Steam Extraction 1 | Revenue From Electricity [EUR] | 0
75 | Heat Pump Air - Ammoniak | Revenue From Electricity [EUR] | 0
76 | electricity | Revenue From Electricity [EUR]
77 | heat boiler natural gas | Revenue From Electricity [EUR] | 0
78 | natural gas | Revenue From Electricity [EUR]
79 | waste | Revenue From Electricity [EUR]
80 | wood chips | Revenue From Electricity [EUR]
81 | CHP Back Pressure | Operational Cost [EUR] | 50993229.9453
82 | CHP Steam Extraction | Operational Cost [EUR] | 0
83 | CHP Steam Extraction 1 | Operational Cost [EUR] | 0
84 | Heat Pump Air - Ammoniak | Operational Cost [EUR] | 5453968.8076
85 | electricity | Operational Cost [EUR]
86 | heat boiler natural gas | Operational Cost [EUR] | 517059.721
87 | natural gas | Operational Cost [EUR]
88 | waste | Operational Cost [EUR]
89 | wood chips | Operational Cost [EUR]
90 | CHP Back Pressure | Fuel Costs [EUR] | 39895221.0501
91 | CHP Steam Extraction | Fuel Costs [EUR] | 0
92 | CHP Steam Extraction 1 | Fuel Costs [EUR] | 0
93 | Heat Pump Air - Ammoniak | Fuel Costs [EUR] | 6291158.1552
94 | electricity | Fuel Costs [EUR]
95 | heat boiler natural gas | Fuel Costs [EUR] | 3418544.0466
96 | natural gas | Fuel Costs [EUR]
97 | waste | Fuel Costs [EUR]
98 | wood chips | Fuel Costs [EUR]
99 | CHP Back Pressure | CO2 Costs [EUR] | 45335478.4661
100 | CHP Steam Extraction | CO2 Costs [EUR] | 0
101 | CHP Steam Extraction 1 | CO2 Costs [EUR] | 0
102 | Heat Pump Air - Ammoniak | CO2 Costs [EUR] | 3523911.8793
103 | electricity | CO2 Costs [EUR]
104 | heat boiler natural gas | CO2 Costs [EUR] | 2848786.7055
105 | natural gas | CO2 Costs [EUR]
106 | waste | CO2 Costs [EUR]
107 | wood chips | CO2 Costs [EUR]
108 | CHP Back Pressure | emission factor [tCO2/MWh] | 1
109 | CHP Steam Extraction | emission factor [tCO2/MWh] | 1
110 | CHP Steam Extraction 1 | emission factor [tCO2/MWh] | 0.8
111 | Heat Pump Air - Ammoniak | emission factor [tCO2/MWh] | 0.8
112 | electricity | emission factor [tCO2/MWh]
113 | heat boiler natural gas | emission factor [tCO2/MWh] | 1
114 | natural gas | emission factor [tCO2/MWh]
115 | waste | emission factor [tCO2/MWh]
116 | wood chips | emission factor [tCO2/MWh]
117 | CHP Back Pressure | emission factor: [tCO2/MWh] | 1
118 | CHP Steam Extraction | emission factor: [tCO2/MWh] | 1
119 | CHP Steam Extraction 1 | emission factor: [tCO2/MWh] | 0.8
120 | Heat Pump Air - Ammoniak | emission factor: [tCO2/MWh] | 0.8
121 | electricity | emission factor: [tCO2/MWh]
122 | heat boiler natural gas | emission factor: [tCO2/MWh] | 1
123 | natural gas | emission factor: [tCO2/MWh]
124 | waste | emission factor: [tCO2/MWh]
125 | wood chips | emission factor: [tCO2/MWh]
126 | CHP Back Pressure | Anual Investment Cost [EUR] | 355967732.2635
127 | CHP Steam Extraction | Anual Investment Cost [EUR] | 0
128 | CHP Steam Extraction 1 | Anual Investment Cost [EUR] | 0
129 | Heat Pump Air - Ammoniak | Anual Investment Cost [EUR] | 11219579.4059
130 | electricity | Anual Investment Cost [EUR]
131 | heat boiler natural gas | Anual Investment Cost [EUR] | 841794.508
132 | natural gas | Anual Investment Cost [EUR]
133 | waste | Anual Investment Cost [EUR]
134 | wood chips | Anual Investment Cost [EUR]
135 | CHP Back Pressure | Anual Investment Cost (of existing power plants) [EUR] | 0
136 | CHP Steam Extraction | Anual Investment Cost (of existing power plants) [EUR] | 0
137 | CHP Steam Extraction 1 | Anual Investment Cost (of existing power plants) [EUR] | 0
138 | Heat Pump Air - Ammoniak | Anual Investment Cost (of existing power plants) [EUR] | 0
139 | electricity | Anual Investment Cost (of existing power plants) [EUR]
140 | heat boiler natural gas | Anual Investment Cost (of existing power plants) [EUR] | 0
141 | natural gas | Anual Investment Cost (of existing power plants) [EUR]
142 | waste | Anual Investment Cost (of existing power plants) [EUR]
143 | wood chips | Anual Investment Cost (of existing power plants) [EUR]
144 | CHP Back Pressure | Anual Investment Cost (of existing power plants and heat storages) [EUR] | 0
145 | CHP Steam Extraction | Anual Investment Cost (of existing power plants and heat storages) [EUR] | 0
146 | CHP Steam Extraction 1 | Anual Investment Cost (of existing power plants and heat storages) [EUR] | 0
147 | Heat Pump Air - Ammoniak | Anual Investment Cost (of existing power plants and heat storages) [EUR] | 0
148 | electricity | Anual Investment Cost (of existing power plants and heat storages) [EUR]
149 | heat boiler natural gas | Anual Investment Cost (of existing power plants and heat storages) [EUR] | 0
150 | natural gas | Anual Investment Cost (of existing power plants and heat storages) [EUR]
151 | waste | Anual Investment Cost (of existing power plants and heat storages) [EUR]
152 | wood chips | Anual Investment Cost (of existing power plants and heat storages) [EUR]
153 | CHP Back Pressure | Specific Capital Costs of installed Capacities [EUR/MW] | 481711.438
154 | CHP Steam Extraction | Specific Capital Costs of installed Capacities [EUR/MW]
155 | CHP Steam Extraction 1 | Specific Capital Costs of installed Capacities [EUR/MW]
156 | Heat Pump Air - Ammoniak | Specific Capital Costs of installed Capacities [EUR/MW] | 55130.0593
157 | electricity | Specific Capital Costs of installed Capacities [EUR/MW]
158 | heat boiler natural gas | Specific Capital Costs of installed Capacities [EUR/MW] | 4257.1474
159 | natural gas | Specific Capital Costs of installed Capacities [EUR/MW]
160 | waste | Specific Capital Costs of installed Capacities [EUR/MW]
161 | wood chips | Specific Capital Costs of installed Capacities [EUR/MW]
162 | CHP Back Pressure | Turn Over Rate [-] | 0
163 | CHP Steam Extraction | Turn Over Rate [-] | 0
164 | CHP Steam Extraction 1 | Turn Over Rate [-] | 0
165 | Heat Pump Air - Ammoniak | Turn Over Rate [-] | 0
166 | electricity | Turn Over Rate [-]
167 | heat boiler natural gas | Turn Over Rate [-] | 0
168 | natural gas | Turn Over Rate [-]
169 | waste | Turn Over Rate [-]
170 | wood chips | Turn Over Rate [-]
171 | CHP Back Pressure | Turn Over Rate: [-] | 0
172 | CHP Steam Extraction | Turn Over Rate: [-] | 0
173 | CHP Steam Extraction 1 | Turn Over Rate: [-] | 0
174 | Heat Pump Air - Ammoniak | Turn Over Rate: [-] | 0
175 | electricity | Turn Over Rate: [-]
176 | heat boiler natural gas | Turn Over Rate: [-] | 0
177 | natural gas | Turn Over Rate: [-]
178 | waste | Turn Over Rate: [-]
179 | wood chips | Turn Over Rate: [-]
180 | CHP Back Pressure | Installed Capacities: [MW] | 738.9647
181 | CHP Steam Extraction | Installed Capacities: [MW] | 0
182 | CHP Steam Extraction 1 | Installed Capacities: [MW] | 0
183 | Heat Pump Air - Ammoniak | Installed Capacities: [MW] | 203.5111
184 | electricity | Installed Capacities: [MW]
185 | heat boiler natural gas | Installed Capacities: [MW] | 197.7368
186 | natural gas | Installed Capacities: [MW]
187 | waste | Installed Capacities: [MW]
188 | wood chips | Installed Capacities: [MW]
189 | CHP Back Pressure | Thermal Generation Mix: [MWh] | 1051783.1004
190 | CHP Steam Extraction | Thermal Generation Mix: [MWh] | 0
191 | CHP Steam Extraction 1 | Thermal Generation Mix: [MWh] | 0
192 | Heat Pump Air - Ammoniak | Thermal Generation Mix: [MWh] | 600826.9754
193 | electricity | Thermal Generation Mix: [MWh]
194 | heat boiler natural gas | Thermal Generation Mix: [MWh] | 110532.9242
195 | natural gas | Thermal Generation Mix: [MWh]
196 | waste | Thermal Generation Mix: [MWh]
197 | wood chips | Thermal Generation Mix: [MWh]
198 | CHP Back Pressure | Anual Investment Cost: [EUR] | 355967732.2635
199 | CHP Steam Extraction | Anual Investment Cost: [EUR] | 0
200 | CHP Steam Extraction 1 | Anual Investment Cost: [EUR] | 0
201 | Heat Pump Air - Ammoniak | Anual Investment Cost: [EUR] | 11219579.4059
202 | electricity | Anual Investment Cost: [EUR]
203 | heat boiler natural gas | Anual Investment Cost: [EUR] | 841794.508
204 | natural gas | Anual Investment Cost: [EUR]
205 | waste | Anual Investment Cost: [EUR]
206 | wood chips | Anual Investment Cost: [EUR]
207 | CHP Back Pressure | Revenue From Electricity: [EUR] | 12414878.5497
208 | CHP Steam Extraction | Revenue From Electricity: [EUR] | 0
209 | CHP Steam Extraction 1 | Revenue From Electricity: [EUR] | 0
210 | Heat Pump Air - Ammoniak | Revenue From Electricity: [EUR] | 0
211 | electricity | Revenue From Electricity: [EUR]
212 | heat boiler natural gas | Revenue From Electricity: [EUR] | 0
213 | natural gas | Revenue From Electricity: [EUR]
214 | waste | Revenue From Electricity: [EUR]
215 | wood chips | Revenue From Electricity: [EUR]
216 | CHP Back Pressure | Operational Cost: [EUR] | 50993229.9453
217 | CHP Steam Extraction | Operational Cost: [EUR] | 0
218 | CHP Steam Extraction 1 | Operational Cost: [EUR] | 0
219 | Heat Pump Air - Ammoniak | Operational Cost: [EUR] | 5453968.8076
220 | electricity | Operational Cost: [EUR]
221 | heat boiler natural gas | Operational Cost: [EUR] | 517059.721
222 | natural gas | Operational Cost: [EUR]
223 | waste | Operational Cost: [EUR]
224 | wood chips | Operational Cost: [EUR]
225 | CHP Back Pressure | Specific Capital Costs of Installed Capacities: [EUR/MW] | 481711.438
226 | CHP Steam Extraction | Specific Capital Costs of Installed Capacities: [EUR/MW]
227 | CHP Steam Extraction 1 | Specific Capital Costs of Installed Capacities: [EUR/MW]
228 | Heat Pump Air - Ammoniak | Specific Capital Costs of Installed Capacities: [EUR/MW] | 55130.0593
229 | electricity | Specific Capital Costs of Installed Capacities: [EUR/MW]
230 | heat boiler natural gas | Specific Capital Costs of Installed Capacities: [EUR/MW] | 4257.1474
231 | natural gas | Specific Capital Costs of Installed Capacities: [EUR/MW]
232 | waste | Specific Capital Costs of Installed Capacities: [EUR/MW]
233 | wood chips | Specific Capital Costs of Installed Capacities: [EUR/MW]
234 | CHP Back Pressure | Fuel Costs: [EUR] | 39895221.0501
235 | CHP Steam Extraction | Fuel Costs: [EUR] | 0
236 | CHP Steam Extraction 1 | Fuel Costs: [EUR] | 0
237 | Heat Pump Air - Ammoniak | Fuel Costs: [EUR] | 6291158.1552
238 | electricity | Fuel Costs: [EUR]
239 | heat boiler natural gas | Fuel Costs: [EUR] | 3418544.0466
240 | natural gas | Fuel Costs: [EUR]
241 | waste | Fuel Costs: [EUR]
242 | wood chips | Fuel Costs: [EUR]
243 | CHP Back Pressure | CO2 Costs: [EUR] | 45335478.4661
244 | CHP Steam Extraction | CO2 Costs: [EUR] | 0
245 | CHP Steam Extraction 1 | CO2 Costs: [EUR] | 0
246 | Heat Pump Air - Ammoniak | CO2 Costs: [EUR] | 3523911.8793
247 | electricity | CO2 Costs: [EUR]
248 | heat boiler natural gas | CO2 Costs: [EUR] | 2848786.7055
249 | natural gas | CO2 Costs: [EUR]
250 | waste | CO2 Costs: [EUR]
251 | wood chips | CO2 Costs: [EUR]
252 | CHP Back Pressure | Total CO2 Emission [kg CO2] | 1813419138.6425
253 | CHP Steam Extraction | Total CO2 Emission [kg CO2] | 0
254 | CHP Steam Extraction 1 | Total CO2 Emission [kg CO2] | 0
255 | Heat Pump Air - Ammoniak | Total CO2 Emission [kg CO2] | 140956475.1705
256 | electricity | Total CO2 Emission [kg CO2]
257 | heat boiler natural gas | Total CO2 Emission [kg CO2] | 113951468.2197
258 | natural gas | Total CO2 Emission [kg CO2]
259 | waste | Total CO2 Emission [kg CO2]
260 | wood chips | Total CO2 Emission [kg CO2]
261 | CHP Back Pressure | CO2 Emission Heat [kg CO2] | 1348439872.3239
262 | CHP Steam Extraction | CO2 Emission Heat [kg CO2] | 0
263 | CHP Steam Extraction 1 | CO2 Emission Heat [kg CO2] | 0
264 | Heat Pump Air - Ammoniak | CO2 Emission Heat [kg CO2] | 140956475.1705
265 | electricity | CO2 Emission Heat [kg CO2]
266 | heat boiler natural gas | CO2 Emission Heat [kg CO2] | 113951468.2197
267 | natural gas | CO2 Emission Heat [kg CO2]
268 | waste | CO2 Emission Heat [kg CO2]
269 | wood chips | CO2 Emission Heat [kg CO2]
270 | CHP Back Pressure | CO2 Emission Electricity [kg CO2] | 464979266.3186
271 | CHP Steam Extraction | CO2 Emission Electricity [kg CO2] | 0
272 | CHP Steam Extraction 1 | CO2 Emission Electricity [kg CO2] | 0
273 | Heat Pump Air - Ammoniak | CO2 Emission Electricity [kg CO2] | 0
274 | electricity | CO2 Emission Electricity [kg CO2]
275 | heat boiler natural gas | CO2 Emission Electricity [kg CO2] | 0
276 | natural gas | CO2 Emission Electricity [kg CO2]
277 | waste | CO2 Emission Electricity [kg CO2]
278 | wood chips | CO2 Emission Electricity [kg CO2]
279 | CHP Back Pressure | Total CO2 Emission: [kg CO2] | 1813419138.6425
280 | CHP Steam Extraction | Total CO2 Emission: [kg CO2] | 0
281 | CHP Steam Extraction 1 | Total CO2 Emission: [kg CO2] | 0
282 | Heat Pump Air - Ammoniak | Total CO2 Emission: [kg CO2] | 140956475.1705
283 | electricity | Total CO2 Emission: [kg CO2]
284 | heat boiler natural gas | Total CO2 Emission: [kg CO2] | 113951468.2197
285 | natural gas | Total CO2 Emission: [kg CO2]
286 | waste | Total CO2 Emission: [kg CO2]
287 | wood chips | Total CO2 Emission: [kg CO2]
288 | CHP Back Pressure | Operation Hours [h] | 8760
289 | CHP Steam Extraction | Operation Hours [h] | 0
290 | CHP Steam Extraction 1 | Operation Hours [h] | 0
291 | Heat Pump Air - Ammoniak | Operation Hours [h] | 7976
292 | electricity | Operation Hours [h]
293 | heat boiler natural gas | Operation Hours [h] | 1844
294 | natural gas | Operation Hours [h]
295 | waste | Operation Hours [h]
296 | wood chips | Operation Hours [h]
297 | CHP Back Pressure | Full Load Hours [h] | 1423
298 | CHP Steam Extraction | Full Load Hours [h] | 0
299 | CHP Steam Extraction 1 | Full Load Hours [h] | 0
300 | Heat Pump Air - Ammoniak | Full Load Hours [h] | 2952
301 | electricity | Full Load Hours [h]
302 | heat boiler natural gas | Full Load Hours [h] | 558
303 | natural gas | Full Load Hours [h]
304 | waste | Full Load Hours [h]
305 | wood chips | Full Load Hours [h]
306 | CHP Back Pressure | Seasonal Performance Factor [-] | 0
307 | CHP Steam Extraction | Seasonal Performance Factor [-] | 0
308 | CHP Steam Extraction 1 | Seasonal Performance Factor [-] | 0
309 | Heat Pump Air - Ammoniak | Seasonal Performance Factor [-] | 3.41
310 | electricity | Seasonal Performance Factor [-]
311 | heat boiler natural gas | Seasonal Performance Factor [-] | 0
312 | natural gas | Seasonal Performance Factor [-]
313 | waste | Seasonal Performance Factor [-]
314 | wood chips | Seasonal Performance Factor [-]
315 | CHP Back Pressure | Coldstart Count [-] | 1
316 | CHP Steam Extraction | Coldstart Count [-] | 1
317 | CHP Steam Extraction 1 | Coldstart Count [-] | 1
318 | Heat Pump Air - Ammoniak | Coldstart Count [-] | 51
319 | electricity | Coldstart Count [-]
320 | heat boiler natural gas | Coldstart Count [-] | 82
321 | natural gas | Coldstart Count [-]
322 | waste | Coldstart Count [-]
323 | wood chips | Coldstart Count [-]
324 | CHP Back Pressure | Ramping Costs: [EUR] | 0
325 | CHP Steam Extraction | Ramping Costs: [EUR] | 0
326 | CHP Steam Extraction 1 | Ramping Costs: [EUR] | 0
327 | Heat Pump Air - Ammoniak | Ramping Costs: [EUR] | 0
328 | electricity | Ramping Costs: [EUR]
329 | heat boiler natural gas | Ramping Costs: [EUR] | 0
330 | natural gas | Ramping Costs: [EUR]
331 | waste | Ramping Costs: [EUR]
332 | wood chips | Ramping Costs: [EUR]
333 | CHP Back Pressure | Coldstart Costs: [EUR] | 1000
334 | CHP Steam Extraction | Coldstart Costs: [EUR] | 1000
335 | CHP Steam Extraction 1 | Coldstart Costs: [EUR] | 1000
336 | Heat Pump Air - Ammoniak | Coldstart Costs: [EUR] | 47000
337 | electricity | Coldstart Costs: [EUR]
338 | heat boiler natural gas | Coldstart Costs: [EUR] | 1000
339 | natural gas | Coldstart Costs: [EUR]
340 | waste | Coldstart Costs: [EUR]
341 | wood chips | Coldstart Costs: [EUR]
342 | CHP Back Pressure | Full Load Hours: [h] | 1423
343 | CHP Steam Extraction | Full Load Hours: [h] | 0
344 | CHP Steam Extraction 1 | Full Load Hours: [h] | 0
345 | Heat Pump Air - Ammoniak | Full Load Hours: [h] | 2952
346 | electricity | Full Load Hours: [h]
347 | heat boiler natural gas | Full Load Hours: [h] | 558
348 | natural gas | Full Load Hours: [h]
349 | waste | Full Load Hours: [h]
350 | wood chips | Full Load Hours: [h]
351 | CHP Back Pressure | Total Cost [EUR] | 492192661.725
352 | CHP Steam Extraction | Total Cost [EUR] | 1000
353 | CHP Steam Extraction 1 | Total Cost [EUR] | 1000
354 | Heat Pump Air - Ammoniak | Total Cost [EUR] | 26535618.2481
355 | electricity | Total Cost [EUR]
356 | heat boiler natural gas | Total Cost [EUR] | 7627184.9811
357 | natural gas | Total Cost [EUR]
358 | waste | Total Cost [EUR]
359 | wood chips | Total Cost [EUR]
360 | CHP Back Pressure | Total Cost: [EUR] | 492192661.725
361 | CHP Steam Extraction | Total Cost: [EUR] | 1000
362 | CHP Steam Extraction 1 | Total Cost: [EUR] | 1000
363 | Heat Pump Air - Ammoniak | Total Cost: [EUR] | 26535618.2481
364 | electricity | Total Cost: [EUR]
365 | heat boiler natural gas | Total Cost: [EUR] | 7627184.9811
366 | natural gas | Total Cost: [EUR]
367 | waste | Total Cost: [EUR]
368 | wood chips | Total Cost: [EUR]
369 | CHP Back Pressure | LCOH [EUR/MWh] | 456.1566
370 | CHP Steam Extraction | LCOH [EUR/MWh] | 0
371 | CHP Steam Extraction 1 | LCOH [EUR/MWh] | 0
372 | Heat Pump Air - Ammoniak | LCOH [EUR/MWh] | 44.1652
373 | electricity | LCOH [EUR/MWh]
374 | heat boiler natural gas | LCOH [EUR/MWh] | 69.0037
375 | natural gas | LCOH [EUR/MWh]
376 | waste | LCOH [EUR/MWh]
377 | wood chips | LCOH [EUR/MWh]
378 | CHP Back Pressure | LCOH: [EUR/MWh] | 456.1566
379 | CHP Steam Extraction | LCOH: [EUR/MWh] | 0
380 | CHP Steam Extraction 1 | LCOH: [EUR/MWh] | 0
381 | Heat Pump Air - Ammoniak | LCOH: [EUR/MWh] | 44.1652
382 | electricity | LCOH: [EUR/MWh]
383 | heat boiler natural gas | LCOH: [EUR/MWh] | 69.0037
384 | natural gas | LCOH: [EUR/MWh]
385 | waste | LCOH: [EUR/MWh]
386 | wood chips | LCOH: [EUR/MWh]
387 | CHP Back Pressure | Final Energy Mix By Energy Carrier [MWh]
388 | CHP Steam Extraction | Final Energy Mix By Energy Carrier [MWh]
389 | CHP Steam Extraction 1 | Final Energy Mix By Energy Carrier [MWh]
390 | Heat Pump Air - Ammoniak | Final Energy Mix By Energy Carrier [MWh]
391 | electricity | Final Energy Mix By Energy Carrier [MWh] | 176195.594
392 | heat boiler natural gas | Final Energy Mix By Energy Carrier [MWh]
393 | natural gas | Final Energy Mix By Energy Carrier [MWh] | 113951.4682
394 | waste | Final Energy Mix By Energy Carrier [MWh] | 0
395 | wood chips | Final Energy Mix By Energy Carrier [MWh] | 1813419.1386
396 | CHP Back Pressure | Total CO2 Emission: By Energy Carrier [kg CO2]
397 | CHP Steam Extraction | Total CO2 Emission: By Energy Carrier [kg CO2]
398 | CHP Steam Extraction 1 | Total CO2 Emission: By Energy Carrier [kg CO2]
399 | Heat Pump Air - Ammoniak | Total CO2 Emission: By Energy Carrier [kg CO2]
400 | electricity | Total CO2 Emission: By Energy Carrier [kg CO2] | 140956475.1705
401 | heat boiler natural gas | Total CO2 Emission: By Energy Carrier [kg CO2]
402 | natural gas | Total CO2 Emission: By Energy Carrier [kg CO2] | 113951468.2197
403 | waste | Total CO2 Emission: By Energy Carrier [kg CO2] | 0
404 | wood chips | Total CO2 Emission: By Energy Carrier [kg CO2] | 1813419138.6425