## Sheet1
| heat generator | topic | value
0 | CHP Back Pressure | Installed Capacities [MW] | 556.4807
1 | electricity | Installed Capacities [MW]
2 | heat boiler natural gas | Installed Capacities [MW] | 300.1765
3 | heat pump | Installed Capacities [MW] | 212.1979
4 | natural gas | Installed Capacities [MW]
5 | waste heat 40° | Installed Capacities [MW]
6 | CHP Back Pressure | Electrical Consumption of Heatpumps and Power to Heat devices [MWh]
7 | electricity | Electrical Consumption of Heatpumps and Power to Heat devices [MWh]
8 | heat boiler natural gas | Electrical Consumption of Heatpumps and Power to Heat devices [MWh]
9 | heat pump | Electrical Consumption of Heatpumps and Power to Heat devices [MWh] | 209573.837
10 | natural gas | Electrical Consumption of Heatpumps and Power to Heat devices [MWh]
11 | waste heat 40° | Electrical Consumption of Heatpumps and Power to Heat devices [MWh]
12 | CHP Back Pressure | Thermal Generation Mix [MWh] | 1214033.6066
13 | electricity | Thermal Generation Mix [MWh]
14 | heat boiler natural gas | Thermal Generation Mix [MWh] | 33557.7543
15 | heat pump | Thermal Generation Mix [MWh] | 515551.6391
16 | natural gas | Thermal Generation Mix [MWh]
17 | waste heat 40° | Thermal Generation Mix [MWh]
18 | CHP Back Pressure | Final Energy Mix [MWh] | 2697852.4592
19 | electricity | Final Energy Mix [MWh]
20 | heat boiler natural gas | Final Energy Mix [MWh] | 34595.623
21 | heat pump | Final Energy Mix [MWh] | 209573.837
22 | natural gas | Final Energy Mix [MWh]
23 | waste heat 40° | Final Energy Mix [MWh]
24 | CHP Back Pressure | max thermal efficiency [-] | 0.45
25 | electricity | max thermal efficiency [-]
26 | heat boiler natural gas | max thermal efficiency [-] | 0.97
27 | heat pump | max thermal efficiency [-] | 2.46
28 | natural gas | max thermal efficiency [-]
29 | waste heat 40° | max thermal efficiency [-]
30 | CHP Back Pressure | Ramping Costs [EUR] | 0
31 | electricity | Ramping Costs [EUR]
32 | heat boiler natural gas | Ramping Costs [EUR] | 0
33 | heat pump | Ramping Costs [EUR] | 0
34 | natural gas | Ramping Costs [EUR]
35 | waste heat 40° | Ramping Costs [EUR]
36 | CHP Back Pressure | model_Coldstarts [-] | 1
37 | electricity | model_Coldstarts [-]
38 | heat boiler natural gas | model_Coldstarts [-] | 1
39 | heat pump | model_Coldstarts [-] | 1
40 | natural gas | model_Coldstarts [-]
41 | waste heat 40° | model_Coldstarts [-]
42 | CHP Back Pressure | Coldstart Costs [EUR] | 1000
43 | electricity | Coldstart Costs [EUR]
44 | heat boiler natural gas | Coldstart Costs [EUR] | 1000
45 | heat pump | Coldstart Costs [EUR] | 1000
46 | natural gas | Coldstart Costs [EUR]
47 | waste heat 40° | Coldstart Costs [EUR]
48 | CHP Back Pressure | Revenue From Electricity [EUR] | 42211332.0705
49 | electricity | Revenue From Electricity [EUR]
50 | heat boiler natural gas | Revenue From Electricity [EUR] | 0
51 | heat pump | Revenue From Electricity [EUR] | 0
52 | natural gas | Revenue From Electricity [EUR]
53 | waste heat 40° | Revenue From Electricity [EUR]
54 | CHP Back Pressure | Operational Cost [EUR] | 15277075.4876
55 | electricity | Operational Cost [EUR]
56 | heat boiler natural gas | Operational Cost [EUR] | 637266.4594
57 | heat pump | Operational Cost [EUR] | 4755029.5729
58 | natural gas | Operational Cost [EUR]
59 | waste heat 40° | Operational Cost [EUR]
60 | CHP Back Pressure | Fuel Costs [EUR] | 0
61 | electricity | Fuel Costs [EUR]
62 | heat boiler natural gas | Fuel Costs [EUR] | 1037868.6889
63 | heat pump | Fuel Costs [EUR] | 5194713.7087
64 | natural gas | Fuel Costs [EUR]
65 | waste heat 40° | Fuel Costs [EUR]
66 | CHP Back Pressure | CO2 Costs [EUR] | 67446311.4793
67 | electricity | CO2 Costs [EUR]
68 | heat boiler natural gas | CO2 Costs [EUR] | 864890.5741
69 | heat pump | CO2 Costs [EUR] | 4191476.7406
70 | natural gas | CO2 Costs [EUR]
71 | waste heat 40° | CO2 Costs [EUR]
72 | CHP Back Pressure | emission factor [tCO2/MWh] | 1
73 | electricity | emission factor [tCO2/MWh]
74 | heat boiler natural gas | emission factor [tCO2/MWh] | 1
75 | heat pump | emission factor [tCO2/MWh] | 0.8
76 | natural gas | emission factor [tCO2/MWh]
77 | waste heat 40° | emission factor [tCO2/MWh]
78 | CHP Back Pressure | emission factor: [tCO2/MWh] | 1
79 | electricity | emission factor: [tCO2/MWh]
80 | heat boiler natural gas | emission factor: [tCO2/MWh] | 1
81 | heat pump | emission factor: [tCO2/MWh] | 0.8
82 | natural gas | emission factor: [tCO2/MWh]
83 | waste heat 40° | emission factor: [tCO2/MWh]
84 | CHP Back Pressure | Anual Investment Cost [EUR] | 39483670.5117
85 | electricity | Anual Investment Cost [EUR]
86 | heat boiler natural gas | Anual Investment Cost [EUR] | 1277895.4683
87 | heat pump | Anual Investment Cost [EUR] | 10539173.8177
88 | natural gas | Anual Investment Cost [EUR]
89 | waste heat 40° | Anual Investment Cost [EUR]
90 | CHP Back Pressure | Anual Investment Cost (of existing power plants) [EUR] | 0
91 | electricity | Anual Investment Cost (of existing power plants) [EUR]
92 | heat boiler natural gas | Anual Investment Cost (of existing power plants) [EUR] | 0
93 | heat pump | Anual Investment Cost (of existing power plants) [EUR] | 0
94 | natural gas | Anual Investment Cost (of existing power plants) [EUR]
95 | waste heat 40° | Anual Investment Cost (of existing power plants) [EUR]
96 | CHP Back Pressure | Anual Investment Cost (of existing power plants and heat storages) [EUR] | 0
97 | electricity | Anual Investment Cost (of existing power plants and heat storages) [EUR]
98 | heat boiler natural gas | Anual Investment Cost (of existing power plants and heat storages) [EUR] | 0
99 | heat pump | Anual Investment Cost (of existing power plants and heat storages) [EUR] | 0
100 | natural gas | Anual Investment Cost (of existing power plants and heat storages) [EUR]
101 | waste heat 40° | Anual Investment Cost (of existing power plants and heat storages) [EUR]
102 | CHP Back Pressure | Specific Capital Costs of installed Capacities [EUR/MW] | 70952.4573
103 | electricity | Specific Capital Costs of installed Capacities [EUR/MW]
104 | heat boiler natural gas | Specific Capital Costs of installed Capacities [EUR/MW] | 4257.1474
105 | heat pump | Specific Capital Costs of installed Capacities [EUR/MW] | 49666.7201
106 | natural gas | Specific Capital Costs of installed Capacities [EUR/MW]
107 | waste heat 40° | Specific Capital Costs of installed Capacities [EUR/MW]
108 | CHP Back Pressure | Turn Over Rate [-] | 0
109 | electricity | Turn Over Rate [-]
110 | heat boiler natural gas | Turn Over Rate [-] | 0
111 | heat pump | Turn Over Rate [-] | 0
112 | natural gas | Turn Over Rate [-]
113 | waste heat 40° | Turn Over Rate [-]
114 | CHP Back Pressure | Turn Over Rate: [-] | 0
115 | electricity | Turn Over Rate: [-]
116 | heat boiler natural gas | Turn Over Rate: [-] | 0
117 | heat pump | Turn Over Rate: [-] | 0
118 | natural gas | Turn Over Rate: [-]
119 | waste heat 40° | Turn Over Rate: [-]
120 | CHP Back Pressure | Installed Capacities: [MW] | 556.4807
121 | electricity | Installed Capacities: [MW]
122 | heat boiler natural gas | Installed Capacities: [MW] | 300.1765
123 | heat pump | Installed Capacities: [MW] | 212.1979
124 | natural gas | Installed Capacities: [MW]
125 | waste heat 40° | Installed Capacities: [MW]
126 | CHP Back Pressure | Thermal Generation Mix: [MWh] | 1214033.6066
127 | electricity | Thermal Generation Mix: [MWh]
128 | heat boiler natural gas | Thermal Generation Mix: [MWh] | 33557.7543
129 | heat pump | Thermal Generation Mix: [MWh] | 515551.6391
130 | natural gas | Thermal Generation Mix: [MWh]
131 | waste heat 40° | Thermal Generation Mix: [MWh]
132 | CHP Back Pressure | Anual Investment Cost: [EUR] | 39483670.5117
133 | electricity | Anual Investment Cost: [EUR]
134 | heat boiler natural gas | Anual Investment Cost: [EUR] | 1277895.4683
135 | heat pump | Anual Investment Cost: [EUR] | 10539173.8177
136 | natural gas | Anual Investment Cost: [EUR]
137 | waste heat 40° | Anual Investment Cost: [EUR]
138 | CHP Back Pressure | Revenue From Electricity: [EUR] | 42211332.0705
139 | electricity | Revenue From Electricity: [EUR]
140 | heat boiler natural gas | Revenue From Electricity: [EUR] | 0
141 | heat pump | Revenue From Electricity: [EUR] | 0
142 | natural gas | Revenue From Electricity: [EUR]
143 | waste heat 40° | Revenue From Electricity: [EUR]
144 | CHP Back Pressure | Operational Cost: [EUR] | 15277075.4876
145 | electricity | Operational Cost: [EUR]
146 | heat boiler natural gas | Operational Cost: [EUR] | 637266.4594
147 | heat pump | Operational Cost: [EUR] | 4755029.5729
148 | natural gas | Operational Cost: [EUR]
149 | waste heat 40° | Operational Cost: [EUR]
150 | CHP Back Pressure | Specific Capital Costs of Installed Capacities: [EUR/MW] | 70952.4573
151 | electricity | Specific Capital Costs of Installed Capacities: [EUR/MW]
152 | heat boiler natural gas | Specific Capital Costs of Installed Capacities: [EUR/MW] | 4257.1474
153 | heat pump | Specific Capital Costs of Installed Capacities: [EUR/MW] | 49666.7201
154 | natural gas | Specific Capital Costs of Installed Capacities: [EUR/MW]
155 | waste heat 40° | Specific Capital Costs of Installed Capacities: [EUR/MW]
156 | CHP Back Pressure | Fuel Costs: [EUR] | 0
157 | electricity | Fuel Costs: [EUR]
158 | heat boiler natural gas | Fuel Costs: [EUR] | 1037868.6889
159 | heat pump | Fuel Costs: [EUR] | 5194713.7087
160 | natural gas | Fuel Costs: [EUR]
161 | waste heat 40° | Fuel Costs: [EUR]
162 | CHP Back Pressure | CO2 Costs: [EUR] | 67446311.4793
163 | electricity | CO2 Costs: [EUR]
164 | heat boiler natural gas | CO2 Costs: [EUR] | 864890.5741
165 | heat pump | CO2 Costs: [EUR] | 4191476.7406
166 | natural gas | CO2 Costs: [EUR]
167 | waste heat 40° | CO2 Costs: [EUR]
168 | CHP Back Pressure | Total CO2 Emission [kg CO2] | 2697852459.1719
169 | electricity | Total CO2 Emission [kg CO2]
170 | heat boiler natural gas | Total CO2 Emission [kg CO2] | 34595622.9649
171 | heat pump | Total CO2 Emission [kg CO2] | 167659069.6249
172 | natural gas | Total CO2 Emission [kg CO2]
173 | waste heat 40° | Total CO2 Emission [kg CO2]
174 | CHP Back Pressure | CO2 Emission Heat [kg CO2] | 1428274831.3263
175 | electricity | CO2 Emission Heat [kg CO2]
176 | heat boiler natural gas | CO2 Emission Heat [kg CO2] | 34595622.9649
177 | heat pump | CO2 Emission Heat [kg CO2] | 167659069.6249
178 | natural gas | CO2 Emission Heat [kg CO2]
179 | waste heat 40° | CO2 Emission Heat [kg CO2]
180 | CHP Back Pressure | CO2 Emission Electricity [kg CO2] | 1269577627.8456
181 | electricity | CO2 Emission Electricity [kg CO2]
182 | heat boiler natural gas | CO2 Emission Electricity [kg CO2] | 0
183 | heat pump | CO2 Emission Electricity [kg CO2] | 0
184 | natural gas | CO2 Emission Electricity [kg CO2]
185 | waste heat 40° | CO2 Emission Electricity [kg CO2]
186 | CHP Back Pressure | Total CO2 Emission: [kg CO2] | 2697852459.1719
187 | electricity | Total CO2 Emission: [kg CO2]
188 | heat boiler natural gas | Total CO2 Emission: [kg CO2] | 34595622.9649
189 | heat pump | Total CO2 Emission: [kg CO2] | 167659069.6249
190 | natural gas | Total CO2 Emission: [kg CO2]
191 | waste heat 40° | Total CO2 Emission: [kg CO2]
192 | CHP Back Pressure | Operation Hours [h] | 8760
193 | electricity | Operation Hours [h]
194 | heat boiler natural gas | Operation Hours [h] | 332
195 | heat pump | Operation Hours [h] | 5094
196 | natural gas | Operation Hours [h]
197 | waste heat 40° | Operation Hours [h]
198 | CHP Back Pressure | Full Load Hours [h] | 2181
199 | electricity | Full Load Hours [h]
200 | heat boiler natural gas | Full Load Hours [h] | 111
201 | heat pump | Full Load Hours [h] | 2429
202 | natural gas | Full Load Hours [h]
203 | waste heat 40° | Full Load Hours [h]
204 | CHP Back Pressure | Seasonal Performance Factor [-] | 0
205 | electricity | Seasonal Performance Factor [-]
206 | heat boiler natural gas | Seasonal Performance Factor [-] | 0
207 | heat pump | Seasonal Performance Factor [-] | 2.46
208 | natural gas | Seasonal Performance Factor [-]
209 | waste heat 40° | Seasonal Performance Factor [-]
210 | CHP Back Pressure | Coldstart Count [-] | 1
211 | electricity | Coldstart Count [-]
212 | heat boiler natural gas | Coldstart Count [-] | 55
213 | heat pump | Coldstart Count [-] | 598
214 | natural gas | Coldstart Count [-]
215 | waste heat 40° | Coldstart Count [-]
216 | CHP Back Pressure | Ramping Costs: [EUR] | 0
217 | electricity | Ramping Costs: [EUR]
218 | heat boiler natural gas | Ramping Costs: [EUR] | 0
219 | heat pump | Ramping Costs: [EUR] | 0
220 | natural gas | Ramping Costs: [EUR]
221 | waste heat 40° | Ramping Costs: [EUR]
222 | CHP Back Pressure | Coldstart Costs: [EUR] | 1000
223 | electricity | Coldstart Costs: [EUR]
224 | heat boiler natural gas | Coldstart Costs: [EUR] | 1000
225 | heat pump | Coldstart Costs: [EUR] | 1000
226 | natural gas | Coldstart Costs: [EUR]
227 | waste heat 40° | Coldstart Costs: [EUR]
228 | CHP Back Pressure | Full Load Hours: [h] | 2181
229 | electricity | Full Load Hours: [h]
230 | heat boiler natural gas | Full Load Hours: [h] | 111
231 | heat pump | Full Load Hours: [h] | 2429
232 | natural gas | Full Load Hours: [h]
233 | waste heat 40° | Full Load Hours: [h]
234 | CHP Back Pressure | Total Cost [EUR] | 122208057.4786
235 | electricity | Total Cost [EUR]
236 | heat boiler natural gas | Total Cost [EUR] | 3818921.1908
237 | heat pump | Total Cost [EUR] | 24681393.8399
238 | natural gas | Total Cost [EUR]
239 | waste heat 40° | Total Cost [EUR]
240 | CHP Back Pressure | Total Cost: [EUR] | 122208057.4786
241 | electricity | Total Cost: [EUR]
242 | heat boiler natural gas | Total Cost: [EUR] | 3818921.1908
243 | heat pump | Total Cost: [EUR] | 24681393.8399
244 | natural gas | Total Cost: [EUR]
245 | waste heat 40° | Total Cost: [EUR]
246 | CHP Back Pressure | LCOH [EUR/MWh] | 65.8933
247 | electricity | LCOH [EUR/MWh]
248 | heat boiler natural gas | LCOH [EUR/MWh] | 113.8015
249 | heat pump | LCOH [EUR/MWh] | 47.8738
250 | natural gas | LCOH [EUR/MWh]
251 | waste heat 40° | LCOH [EUR/MWh]
252 | CHP Back Pressure | LCOH: [EUR/MWh] | 65.8933
253 | electricity | LCOH: [EUR/MWh]
254 | heat boiler natural gas | LCOH: [EUR/MWh] | 113.8015
255 | heat pump | LCOH: [EUR/MWh] | 47.8738
256 | natural gas | LCOH: [EUR/MWh]
257 | waste heat 40° | LCOH: [EUR/MWh]
258 | CHP Back Pressure | Final Energy Mix By Energy Carrier [MWh]
259 | electricity | Final Energy Mix By Energy Carrier [MWh] | 209573.837
260 | heat boiler natural gas | Final Energy Mix By Energy Carrier [MWh]
261 | heat pump | Final Energy Mix By Energy Carrier [MWh]
262 | natural gas | Final Energy Mix By Energy Carrier [MWh] | 34595.623
263 | waste heat 40° | Final Energy Mix By Energy Carrier [MWh] | 2697852.4592
264 | CHP Back Pressure | Total CO2 Emission: By Energy Carrier [kg CO2]
265 | electricity | Total CO2 Emission: By Energy Carrier [kg CO2] | 167659069.6249
266 | heat boiler natural gas | Total CO2 Emission: By Energy Carrier [kg CO2]
267 | heat pump | Total CO2 Emission: By Energy Carrier [kg CO2]
268 | natural gas | Total CO2 Emission: By Energy Carrier [kg CO2] | 34595622.9649
269 | waste heat 40° | Total CO2 Emission: By Energy Carrier [kg CO2] | 2697852459.1719